**Features**

* Weighs just two ounces.
* Durable, self-contained unit.
* Delivers an accurate pulse rate and blood oximetry in just seconds.

Specification / Part Numbers & Accessories

**Specifications**

|  |  |
| --- | --- |
| Oxygen Saturation: | 55 |
| Pulse Rate Range: | 18 to 300 Pulses |
| Per Minute Displays: | 3-color Perfusion LED 2-digit LED Displays for SpO2 and Pulse Rate |
| Oximetry Accuracy: | SpO2 Accuracy 70-100% 2% (1 S.D.) |
| Heart Rate Accuracy: | 3% 1 digit |
| Alarms: | None Power |
| Supply: | 2 AAA Batteries (Alkaline, NiCad or NIMH) |
| Dimensions: | 1.3 W" x 1.3" H x 2.25" L (3.3 cm x 3.3 cm x 5.7 cm) |
| Weight: | 2 ounces (60 g) with batteries. |

**Part Numbers & Accessories**

|  |  |
| --- | --- |
| Item | Part # |
| Finger Pulse Oximeter Includes: 2 AAA batteries, manual | 950 |
| Gripping Insert | 100-0338-00 |
| External Spring | 100-0339-00 |
| Lanyard, Black | 100-0340-00 |
| Manual | 100-0341-00 |
| Carrying Case | 1008811 |

http://www.healthcare.philips.com/ar\_es/homehealth/respiratory\_care/950fingeroximeter/default.wpd#&&/wEXAQUOY3VycmVudFRhYlBhdGgFEERldGFpbHM6T3ZlcnZpZXdwGB6s7Z5i1iyK2qCyu+ZlAjHM5w==