## Hoja1
| Philips |  | Covidien - Nellcor
| 950 Finger Pulse Oxi | GO2 pulse oximeter | Bedside SpO2 Patient Monitoring System, PM100N | Bedside SpO₂ Patient Monitoring System
Oxygen saturation display range | - | 0% to 100% | 1% to 100% | 1% to 100%
Pulse Rate Range | 18 to 300 Pulses | 18 to 321 Pulses | 20 to 250 Pulses (0.03% to 20%) | 20 to 250 Pulses (0.03% to 20%)
Oximetry Accuracy | SpO2 70-100% 2% (1 S.D) | SpO2 70-100% 2 digits | 70% to 100% 2 digits | 70% to 100% 2 digits
Heart Rate Accuracy | 3% 1 digit | 40 to 240 BPM 3 digits | 20 to 250 BPM 3 digits | 20 to 250 BPM 3 digits
Alarms | None Power | - | Yes | Yes
Supply | 2 AAA Batteries | 1 AAA Battery | 100 to 250VAC, 50/60Hz, 45VA (5-hour Battery) | 100 to 250VAC, 50/60Hz, 45VA (5-hour Battery)
Weight | 60g | - | 1,5kg | 1,6kg
Operating Temperature | - | 5°C to 40°C | 5°C to 40°C | 5°C to 40°C
Operating Humidity | - | 10% to 90% | 15% to 93% | 15% to 93%
Operating altitud | - | 4,000 meters | n170m to 4877m | n170m to 4877m
Certificaciones | - | - | Normas ++ | Normas +
Conexión | - | - | USB | -
Red | - | - | WiFi | -